Product Data Sheet

MSBS-1800 (Anti Corrosion For Boiler)

MSBS-1800 offers one pack, multi-functional Powdered formulation. It is specially designed for the treatment for industrial steam generation systems. It offer excellent corrosion protection due to dissolved oxygen in the system

This product shows effective corrosion control properties through its oxygen scavenging

# SPECIFICATIONS

Appearance				:	White Powder

PH	(5% Solution)			:	10.0 – 12.0

Solubility in Water			:	Completely miscible

APPLICATION AND DOSAGE

MSBS-1800 should be fed directly in the system. This product can be dosed on the basis of total alkalinity in feed water. Whereas it does not contributes any effect to the TDS level in boiler.

PRECAUTIONS :

MSBS-1800 should not be used in water intended for human consumption.

MSBS-1800 must be handle with proper safety precautions. For open handling,

Person should be equipped with rubber gloves, aprons and goggles. Harmful if swallowed. May cause irritation to skin and eyes. Avoid contact with skin, eyes and clothing. Wash thoroughly after handling. Wash empty drums before dispose off.

# FARST AID :

In case of contact, immediately flush with plenty of water for atleast 5 minutes. If swallowed, promptly drink large quantity.

# PACKAGING:

MSBS-1800 is available in 25 & 50 Kg packing