Product Data Sheet

MSBioclean-3

Algae is a photosynthetic organism that needs light, water and nutrients to prosper.

MSBioclean-3 is an oxidizing agent very used to kill the Algae and stop the further growth. Its very effective against every type of algae like Green, Red, Brown etc.

MSBioclean-3 is a single pack, multi-functional liquid, designed & developed according to the specific conditions of water in Open Cooling Water Circuits. Open Cooling Water Circuits provides excellent atmosphere for the growth of such problems. MSBioclean-3 combat all these conditions.

MSBioclean-3 is environmentally friendly also easily biodegradable.

It offers excellent protection against all  living organism. It is 100% compatible with a wide range of anti-scaling and anti-corrosion chemicals used in cooling tower.

SPECIFICATIONS:

Appearance			: Color Less

pH				: 2 - 3

Solubility in Water		: 100 %.

Specific Gravity			: Approx. 1.01 at 20oC

APPLICATION AND DOSAGE:

MSBioclean-3 should be fed into the feed water line or tank. Shock dose is observed more effective then regular. A level of 500-1000 PPM must be maintained in every shock dose.

PRECAUTIONS:

MSBioclean-3 should not be used in pure form. Not harmful if diluted in water.

MSBioclean-3 must be handled with proper safety precautions. For open handling, person should be equipped with rubber gloves, aprons and goggles. Harmful if swallowed. May cause irritation to skin and eyes. Avoid contact with skin, eyes and clothing. Wash thoroughly after handling. Wash empty drums before dispose off. Store in a cool & dry place.

FIRST AID :

In case of contact, immediately flush with plenty of water for at least 10  minutes. If swallowed, promptly drink large quantity of water.

PACKAGING:

MSBioclean-3  is available in 35 and 100 Kg  packing.