Product Data Sheet

MSCT-2000 (Anti Scalent & Sludge Conditioner For Cooling Tower)

MSCT-2000 Plus is a single pack, multi-functional liquid, designed & developed according to the specific conditions of water in Open Evaporative Cooling Water Circuits.

Open Cooling Water Circuits provides excellent atmosphere for the growth of problems, such as Corrosion, Scale & Microbial activities. MSCT-2000 Plus combat all these conditions in conjunction with any of the suitable Biocides.

It offers excellent Scale & Corrosion inhibition for Ferrous/Non-Ferrous metals and their alloys. It is 100% compatible with a wide range of Biocides with complete liberty for application of Chlorine and its release agents.

SPECIFICATIONS:

Appearance			:		Yellowish Liquid

pH				:		0.5 – 1.5

Solubility in Water		:		Completely miscible.

Specific Gravity			:		Approx. 1.2 at 20oC

APPLICATION AND DOSAGE:

MSCT-2000 Plus should be fed into the feed water line or to the Sump of the Cooling Tower.

A recommended Zinc level must be maintained in Circulating Water.

PRECAUTIONS:

MSCT-2000 Plus should not be used in water intended for human consumption.

MSCT-2000 Plus must be handled with proper safety precautions. For open handling, person should be equipped with rubber gloves, aprons and goggles. Harmful if swallowed. May cause irritation to skin and eyes. Avoid contact with skin, eyes and clothing. Wash thoroughly after handling. Wash empty drums before dispose off. Store in a cool & dry place.

FIRST AID :

In case of contact, immediately flush with plenty of water for at least 5 minutes. If swallowed, promptly drink large quantity of water.

PACKAGING:

MSCT-2000 Plus is available in 35 and 100 Kg  packing.