Product Data Sheet

MSDS-250 (A tool for de-scaling of Water Handling Equipment )

MSDS-250  is an inhibited, non-alkaline formulation which offers safe and corrosion free removal of scale & deposits on the heat transfer surface of the industrial water handling equipment.

This product is specially designed & developed keeping in view the presence of various metals in the same circuit.

MSDS-250  may be effectively used for the descaling of circuit, such as Boilers, Cooling Towers, Hot & Chilled Close Water Systems, Heat Exchangers, etc.

### SPECIFICATIONS

Appearance			:	Yellow color liquid

Odor				:	Slight

Solubility in Water 			:	Completely miscible

Specific Gravity			:	Around 1.1 at 20 C

APPLICATION AND DOSAGE

MSDS-250 must be dosed according to the advice of water treatment engineer but in general it may be used upto 10% of its final solution. Suitable heating & recirculation is recommendable.

PRECAUTIONS

MSDS-250 should not be used in water intended for human consumption.

MSDS-250 must be handling with proper safety precautions. For open handling, person should be equipment with rubber gloves, aprons and goggles. Harmful if swallowed. May cause irritation to skin and eyes. Avoid contact with skin, eyes and clothing. Wash thoroughly after handling. Wash empty drums before dispose off.

### FARST AID

In case of contact, immediately flush with plenty of water for atleast 5 minutes. If swallowed, promptly drink large quantity of water.

PACKAGING

MSDS-250 is available in 35 and 200 Kgs packing.